## Slide 1
Emergency Medical Ventilator Using the Delphi User Interface
System Block Diagram
Heating / Humidification
Patient
Output Filter /
UV Sterilization
Air
Handling
Motor
Drive
IP
IFlow
ExP
ExFlow
X
PEEP Valve
Wall or
Outside Air
Air / O2
Mixing Valve
X
X
Pressure
Relief Valve
O2
Wall or Bottle
CO2
Gear Motor,
Stepper Motor,
or Synchro Motor
Control
Sensors:
IP
IFlow
ExP
ExFlow
CO2
Input
Filter
Portions of patient ventilator circuit (e.g., one-way valves and vent kit) not shown
AC
Power
Battery
DC Power Supply
PWM Outputs
Current Inputs
Emergency Ventilator
Control Board
SPI Interface
Ventilator